## Slide 1: Quantification of Electrogram Signal Quality
By: Cole Kappel

## Slide 2: The Quality Program
Calculates the dv/dt from the voltage vs time data
Calculates the period of electrograms using autocorrelation
3 different methods for calculating quality.
The results looking at positive dv/dt are saved as “Max Method” (MAM) results.
The results looking at negative dv/dt are saved as “Min Method” (MIM) results.
The third method is the “Absolute Max Method” (AMM) which compares the MAM quality to MIM quality for the trace and whichever value is greater is simply the AMM quality
Quality ranges from 0 to 1 for all methods.

## Slide 3
To better understand the program we can consider this electrogram
Shown here is the voltage vs time data

## Slide 4
lag = 0 ms
lag = 190 ms
The program uses auto correlation to detect the correlation of the signal with a time lagged version of itself
The program calculates the period of the trace as the lag value corresponding to the maximum point next to the absolute maximum point on the autocorrelation plot. In this case this value is 190 ms
|
|

## Slide 5
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
The trace is then broken up into period sized (190 ms) intervals
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|

## Slide 6: Example: “Max Method (MAM)”
The program then looks at the dv/dt plot for the first interval of the trace
For this trace the value added to the MAM array would be (point 1 – average (point 2-5))/(point 1)
This type of calculation happens for every period sized interval on the trace and quality for the trace is calculated as the mean of the MAM array. For a 60 second trace with a period of 200ms, the program would look at 300 intervals.
MAM array value = 0.7032
1
2
3
4
5

## Slide 7: Example: “Min. Method (MIM)”
The program then looks at the same interval but now with –dv/dt to take into consideration maximum -dv/dt points.
The value added to the MIM array for this trace would be (point 1 – average(point 2-3))/(point 1)
Points 4 and 5 are not considered because they correspond to positive dv/dt values.
The MIM quality for the trace is the mean of the MIM array
MIM array value = 0.9259
1
5
4
2
3

## Slide 8
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
|
0.7032
0.7335
0.7434
0.6997
0.5424
…
MAM Array
MAM Q. = mean(MAM Array) = 0.7193
MIM Array
0.9259
0.9567
0.9950
0.9357
0.9254
MIM Q. = mean(MIM Array) = 0.9518
Visual

## Slide 9: Example: “Abs. Max Method (AMM)”
Shown here is 1900ms of data but the quality for this trace is calculated by looking at about 58,000 ms of data
Since the MAM value for the trace is 0.7193 and the MIM value for the trace is 0.9518, the AMM quality for this trace is 0.9518 since 0.9518 > 0.7193.
MAM quality value = 0.7193
MIM quality array value = 0.9518
v.s.

## Slide 10: Examples of High and Low Quality Traces
AMM = 0.9528
AMM = 0.5691
AMM = 0.9494
S-0013 A1
S-0033 A1
S-0022 F4
High
High
Low
Fig. 1
Fig. 2
Fig. 3
v
t
v
v
t
t

## Slide 11: Quality Results for 19 AF Terminated Patients and 20 Non Terminated Patients

## Slide 12
2 tailed T-test: p = 0.0056
Mean Term Quality:
0.715037472
Mean Non-Term Quality:
0.668824123
(AMM)

## Slide 13
2 tailed T-test: p = 0.0087
Mean Term Quality:
0.700897573
Mean Non-Term Quality:
0.659096529
(MAM)

## Slide 14
2 tailed T-test: p = 0.0022
Mean Term Quality:
0.623784843
Mean Non-Term Quality:
0.577530997
(MIM)

## Slide 15
High Quality Color Map:
Average Quality: 0.7911

## Slide 16
Low Quality Color Map:
Average Quality: 0.6136

## Slide 17: ROC Curves

## Slide 18
AUC: 0.7737
Optimal Operating Point (FPR,TPR): (0.200, 0.7368)
(AMM)

## Slide 19
AUC: 0.7395
Optimal Operating Point (FPR,TPR): 0.4000, 0.8947
(MAM)

## Slide 20
AUC: 0.7868
Optimal Operating Point (FPR,TPR): (0.3500, 0.8421)
(MIM)

## Slide 21
Fidelity
( )
The Kulkik Method

## Slide 22
Kulkik Quality Results for 19 AF Terminated Patients and 20 Non Terminated Patients

## Slide 23
2 tailed T-test: p = 0.6861
Mean Term Quality:
0.5050
Mean Non-Term Quality:
0.4983

## Slide 24
2 tailed T-test: p = 0.7363
Mean Term Quality:
0.6084
Mean Non-Term Quality:
0.6164